KAPA Work Order

# Name:					PI/Lab:			            		Date:

Phone:					e-mail:

Instructions and helpful info:

The KAPA Illumina library quantification assay has a working range between 20 pM and 0.0002 pM.  Please submit your sample at <20 pM (~1 or 2 pM is ideal).  Typically this is ~1:1000 or 1:10,000 dilution of your library.  Dilute in EB (10 mM Tris pH 8; it is in many of the Qiagen kits) plus 0.05% Tween 20.

Notes: Be careful and precise with your pipetting when making dilutions, as this will affect the accuracy of your quantitation.  Also be careful about cross-contamination, as the initial library concentration may be quite high relative to the lower detection limit of the assay.

Quantity will be provided in pM concentration of the sample as provided.  Be sure to correct for the dilution you made, and the size of the fragment (KAPA standard is 452 nt)

Sample names

_____________________________________________________________

PO and PO line number:

Authorized Signature:

(person signing above should have Signature Authority over Grant funding)

For use by Molecular Cloning Facility:

Work done by:

Comments:

_____________________________________________________________

Picked up by: 				Date: